Content

- Scope

- Definitions and abbreviations

- Personnel qualifications

3.1 Medical fitness

3.2 Education and training

- Procedure

4.1 Principle

4.2 Samples

4.3 Equipment and materials

4.4 Reagents and solutions

4.5 Detailed procedure

4.6 Result and interpretation

4.7 Quality control

4.8 Waste management

- Related documents

|  | Compiled by | Examined by | Approved by | Replaced | New version |
| --- | --- | --- | --- | --- | --- |
| Name |  |  |  | Code: | Code: |
| Date |  |  |  |  |  |
| Signature |  |  |  |  |  |
| Laboratory area: |  | No of copies: | Reason for change: |  |  |

- Scope

This SOP describes the procedure for the biochemical test that detects the accumulation of niacin in culture media, which is used for the identification of Mycobacterium tuberculosis.

Because the test involves handling suspensions containing high concentrations of viable, infectious bacteria, strict compliance with safety and protection measures is mandatory. The test must be performed in a laboratory meeting the WHO standards for biosafety level 3 with access restricted to authorized personnel only.

- Definitions and abbreviation

BSC: 	biological safety cabinet

- Personnel qualifications

- Medical fitness

In accordance with national laws and practices, arrangements should be made for  appropriate health surveillance of TB laboratory workers:

- before enrolment in the TB laboratory;

- at regular intervals thereafter, annually or bi-annually;

- after any biohazard incident;

- at the onset of TB symptoms.

Ideally, individual medical records shall be kept for up to 10 years following the end of occupational exposure.

Laboratory workers should be educated about the symptoms of TB and provided with ready access to free medical care if symptoms arise.

Confidential HIV counselling and testing should be offered to laboratory workers. Options for reassignment of HIV-positive or immunosuppressed individuals away from the high-risk areas of the TB laboratory should be considered.

All cases of disease or death identified in accordance with national laws and/or practice as resulting from occupational exposure to biological agents shall be notified to the competent authority.

- Education and training

Basic education and training must be given on the following topics:

- potential risks to health (symptoms of TB disease and transmission);

- precautions to be taken to minimize aerosol formation and prevent exposure;

- hygiene requirements;

- wearing and use of protective equipment and clothing;

- handling of potentially infectious materials;

- laboratory design, including airflow conditions;

- use of biological safety cabinets (operation, identification of malfunctions, maintenance);

- use of autoclaves (operation, identification of malfunctions, maintenance);

- prevention of incidents and steps to be taken by workers in the case of incidents (biohazard incidents, chemical, electrical and fire hazards);

- good laboratory practice and good microbiological techniques;

- organization of work flow;

- procedures;

- waste handling;

- importance of laboratory results for patient management;

- importance of laboratory results for the national TB programme.

The training shall be:

- given before a staff member takes up his/her post;

- strictly supervised;

- adapted to take account of new or changed conditions; and

- repeated periodically, preferably every year.

- Procedure

4.1 Principle

The niacin test, which detects niacin (nicotinic acid) in aqueous extracts of the culture, is one of the elements in the identification of M. tuberculosis.

Almost every strain of M. tuberculosis excretes a large amount of niacin (nicotinic acid) into culture media. Niacin-negative M. tuberculosis strains are very rare, and very few other mycobacterial species yield positive niacin tests.

The conventional method requires the use of cyanogen bromide, an extremely hazardous chemical that is banned in most countries, and should be discontinued. However, the niacin test can still be performed, using commercially available test-strips.

The test must be carried out on pure cultures otherwise it will yield false results.

4.2 Samples

Pure cultures of acid-fast bacilli grown on solid medium, age 21–28 days, with more than 50 colonies.

4.3 Equipment and materials

BSC, class I or II, annually certified

Autoclave

Loops or Pasteur pipettes

Screw-cap reaction tubes, 13 x 85 mm

Reference strains of M. tuberculosis (or a previously identified strain) and a reference strain of M. terrae (saprophytic strain)

4.4 Reagents and solutions

Sterile distilled water

Niacin test-strips

4.5 Detailed procedure

Always refer to the instructions supplied by the manufacturer of the paper strips.

The entire procedure must be carried out in a biological safety cabinet.

- Puncture the culture slant with a loop or with a Pasteur pipette. It is important to break the cell mass so that the medium is exposed, because niacin is extracellular and accumulates in the medium.

- Add 1 ml of sterile distilled water to the culture.

- Tighten the caps.

- Place the tubes horizontally so the fluid covers the entire surface of the medium.

- Leave for at least 30 minutes.

- Turn the slants upright for 5 minutes to let fluid to drain to the bottom.

- Prepare a clean screw-cap tube for each culture tube and mark it with the laboratory register number.

- Remove 0.5 ml  of fluid and transfer it to the clean screw-cap tube.

- Insert the strip with the identification end at the top.

- Close the tube immediately.

- Leave at room temperature for 15–20 minutes, agitating the tube occasionally.

- Observe the colour of the liquid in the bottom of the tube against a white background.

4.6 Result and interpretation

The test is negative if no colour develops and positive if a yellow colour appears. Ignore any colour on the strip itself.

4.7 Quality control

Observe the morphology of colonies on solid medium to check culture purity.

Carefully check the expiry date of paper strips and store them properly in a sealed container, otherwise they can give false-negative results.

4.7.1 Positive control:

Carry out the test with a previously identified M. tuberculosis strain or a reference strain from a culture collection.

4.7.2 Negative control:

Carry out the test with a reference strain such as M. terrae (saprophytic strain) from an international culture collection.

4.8 Waste management

Neutralize the tube contents with 10% NaOH or discard into alkaline disinfectant.

Autoclave all contaminated materials.

Related documents